## Loadcases_definition
Acronym | Scenario description
hL | high load, low DER generation
n1 | high load, low DER generation & contingency case
hW | high load, very high wind, high PV, high other DER generation
hPV | high load, high wind, very high PV, high other DER generation
ℓW | low load, very high wind, high PV, high other DER generation
ℓPV | low load, high wind, very high PV, high other DER generation

## Loadcases
Acronym | P_load | Sgen_wind | Sgen_photovoltaic | Sgen_others
hL | 1 | 0 | 0 | 0
n1 | 1 | 0 | 0 | 0
hW | 1 | 1 | 0.8 | 1
hPV | 1 | 0.85 | 0.95 | 1
lW | 0.1 | 1 | 0.8 | 1
lPV | 0.1 | 0.85 | 0.95 | 1

## Load_profiles_H0
Repräsentatives Profil "Haushalt"
[W] | Winter |  |  | Sommer |  |  | Übergangszeit
| Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag
0:15 | 70.8 | 87.5 | 67.6 | 89.8 | 100.1 | 86.3 | 80.2 | 93.4 | 77.8
0:30 | 68.2 | 81.1 | 60.8 | 84.9 | 92.5 | 76.9 | 75.1 | 86.8 | 69.6
0:45 | 65.9 | 75 | 54.9 | 80.7 | 85.9 | 68.8 | 70.7 | 81.2 | 62.4
1:00 | 63.3 | 69.1 | 49.9 | 76.6 | 79.9 | 62.4 | 66.6 | 75.7 | 56.6
1:15 | 59.5 | 63.4 | 46.2 | 71.7 | 74.1 | 58 | 62.3 | 70.1 | 52.5
1:30 | 55 | 58.2 | 43.6 | 66.6 | 68.7 | 55.3 | 58 | 64.5 | 49.7
1:45 | 50.5 | 53.6 | 41.9 | 61.6 | 63.9 | 53.6 | 54.1 | 59.3 | 47.9
2:00 | 46.6 | 49.9 | 40.8 | 57.4 | 59.9 | 52.4 | 50.8 | 54.9 | 46.6
2:15 | 43.9 | 47.3 | 40.1 | 54.5 | 57 | 51.3 | 48.4 | 51.7 | 45.5
2:30 | 42.3 | 45.5 | 39.6 | 52.6 | 55 | 50.3 | 46.8 | 49.4 | 44.5
2:45 | 41.4 | 44.2 | 39.4 | 51.4 | 53.5 | 49.2 | 45.7 | 47.8 | 43.8
3:00 | 40.8 | 43.3 | 39.1 | 50.8 | 52.4 | 48.3 | 44.9 | 46.6 | 43.3
3:15 | 40.3 | 42.4 | 38.8 | 50.3 | 51.5 | 47.5 | 44.4 | 45.5 | 43
3:30 | 39.9 | 41.5 | 38.6 | 50 | 50.8 | 46.9 | 43.9 | 44.5 | 43
3:45 | 39.5 | 40.7 | 38.3 | 49.9 | 50.2 | 46.5 | 43.5 | 43.8 | 43.1
4:00 | 39.1 | 40 | 38.3 | 49.9 | 49.9 | 46.6 | 43.3 | 43.3 | 43.3
4:15 | 38.8 | 39.3 | 38.4 | 50.1 | 49.9 | 47.1 | 43.1 | 43.1 | 43.4
4:30 | 38.5 | 38.8 | 38.8 | 50.4 | 50 | 48 | 43.1 | 43.1 | 43.7
4:45 | 38.3 | 38.5 | 39.3 | 50.7 | 50.1 | 49.3 | 43.1 | 43.2 | 44.2
5:00 | 38.3 | 38.3 | 40 | 50.8 | 49.9 | 50.8 | 43.3 | 43.3 | 44.9
5:15 | 38.5 | 38.3 | 40.9 | 50.8 | 49.5 | 52.7 | 43.6 | 43.3 | 46.3
5:30 | 39.1 | 38.4 | 43.1 | 50.9 | 48.9 | 55.6 | 44.2 | 43.3 | 48.9
5:45 | 40.3 | 38.7 | 47.7 | 51.6 | 48.4 | 60.5 | 45.4 | 43.2 | 53.7
6:00 | 42.4 | 39.1 | 55.8 | 53.3 | 48.3 | 68.2 | 47.4 | 43.3 | 61.6
6:15 | 45.6 | 39.7 | 68 | 56.2 | 48.7 | 79.2 | 50.5 | 43.5 | 72.9
6:30 | 49.9 | 40.4 | 82.8 | 60.4 | 49.8 | 92 | 54.9 | 44.3 | 86.3
6:45 | 55.3 | 41.3 | 98 | 65.8 | 51.9 | 104.7 | 60.7 | 46 | 100.1
7:00 | 61.6 | 42.4 | 111.5 | 72.4 | 54.9 | 115.7 | 68.2 | 49.1 | 112.4
7:15 | 68.9 | 44 | 121.6 | 80 | 59.2 | 123.5 | 77.5 | 53.9 | 121.8
7:30 | 77.1 | 46.6 | 128.5 | 88.5 | 64.9 | 128.6 | 87.9 | 60.4 | 128.5
7:45 | 86.1 | 51.1 | 132.7 | 97.4 | 72.3 | 132 | 98.6 | 68.8 | 132.9
8:00 | 95.7 | 58.3 | 134.8 | 106.5 | 81.6 | 134.8 | 109 | 79.1 | 135.7
8:15 | 105.8 | 68.6 | 135.4 | 115.6 | 92.9 | 137.8 | 118.4 | 91.1 | 137.2
8:30 | 115.8 | 81.3 | 134.8 | 124.4 | 105.6 | 140.7 | 126.7 | 104.3 | 137.7
8:45 | 124.9 | 95.2 | 133.1 | 132.8 | 119 | 143.2 | 133.8 | 118 | 137.7
9:00 | 132.3 | 109 | 130.7 | 140.7 | 132.3 | 144.8 | 139.8 | 131.5 | 137.3
9:15 | 137.6 | 121.9 | 127.7 | 147.8 | 144.8 | 145.3 | 144.7 | 144.2 | 136.9
9:30 | 141.1 | 133.7 | 124.6 | 154 | 156.2 | 144.9 | 148.8 | 155.5 | 136.4
9:45 | 143.3 | 144.4 | 121.5 | 158.9 | 166 | 143.8 | 152.4 | 165.3 | 135.7
10:00 | 144.8 | 154 | 119 | 162.3 | 174 | 142.3 | 155.6 | 173.1 | 134.8
10:15 | 146 | 162.6 | 117.3 | 164.1 | 180 | 140.8 | 158.9 | 178.8 | 133.7
10:30 | 147.2 | 170.5 | 116.2 | 164.7 | 184.6 | 139.5 | 162 | 183.1 | 132.4
10:45 | 148.4 | 178 | 115.7 | 165 | 188.7 | 138.5 | 164.9 | 187 | 131.4
11:00 | 149.8 | 185.6 | 115.7 | 165.6 | 193.1 | 138.2 | 167.3 | 191.4 | 130.7
11:15 | 151.5 | 193.3 | 116.1 | 167.1 | 198.3 | 138.6 | 169.2 | 197 | 130.6
11:30 | 153.5 | 200.6 | 117 | 169.4 | 203.7 | 140.1 | 170.8 | 203 | 131.5
11:45 | 156 | 206.6 | 118.7 | 172.4 | 208.7 | 142.6 | 172.5 | 208.5 | 133.6
12:00 | 159 | 210.6 | 121.5 | 175.6 | 212.2 | 146.5 | 174.8 | 212.2 | 137.3
12:15 | 162.4 | 211.8 | 125.4 | 179 | 213.7 | 151.5 | 177.7 | 213.5 | 142.6
12:30 | 165.8 | 210.2 | 129.6 | 181.9 | 212.8 | 156.7 | 180.8 | 211.8 | 148.2
12:45 | 168.4 | 205.9 | 133 | 183.7 | 209 | 160.7 | 183.1 | 207 | 152.8
13:00 | 169.8 | 198.9 | 134.8 | 183.9 | 202.3 | 162.3 | 183.9 | 198.9 | 154.8
13:15 | 169.4 | 189.6 | 134.2 | 182.1 | 192.4 | 160.5 | 182.7 | 187.6 | 153.2
13:30 | 167.6 | 178.7 | 131.7 | 178.7 | 180.9 | 156.1 | 179.8 | 174.6 | 148.9
13:45 | 164.8 | 167.3 | 128 | 174.1 | 169.2 | 150.2 | 175.8 | 161.7 | 143.2
14:00 | 161.5 | 156.5 | 124 | 169 | 159 | 144 | 171.5 | 150.6 | 137.3
14:15 | 158.1 | 147 | 120.2 | 163.7 | 151.4 | 138.4 | 167.2 | 142.8 | 132.4
14:30 | 154.9 | 138.9 | 116.8 | 158.9 | 146 | 133.6 | 163.1 | 137.6 | 128.4
14:45 | 151.8 | 132.1 | 113.7 | 154.6 | 141.6 | 129.4 | 159.2 | 133.9 | 124.8
15:00 | 149 | 126.5 | 110.7 | 151.5 | 137.3 | 125.7 | 155.6 | 130.7 | 121.5
15:15 | 146.5 | 122 | 107.9 | 149.6 | 132.4 | 122.4 | 152.3 | 127.1 | 118.1
15:30 | 144.4 | 118.1 | 105.5 | 148.6 | 127 | 119.6 | 149.5 | 123.1 | 114.8
15:45 | 142.7 | 114.8 | 103.5 | 148 | 121.6 | 117.4 | 147.2 | 119 | 111.7
16:00 | 141.5 | 111.5 | 102.4 | 147.3 | 116.5 | 115.7 | 145.7 | 114.9 | 109
16:15 | 140.9 | 108.3 | 102.2 | 146.2 | 112.2 | 114.6 | 145 | 111 | 106.9
16:30 | 141.7 | 105.9 | 103.2 | 145 | 108.9 | 114.2 | 145.4 | 107.7 | 105.7
16:45 | 144.9 | 105.2 | 105.6 | 144.1 | 106.7 | 114.6 | 146.7 | 105.6 | 105.5
17:00 | 151.5 | 107.4 | 109.9 | 144 | 105.7 | 115.7 | 149 | 104.9 | 106.5
17:15 | 161.9 | 112.9 | 116 | 144.9 | 106.1 | 117.6 | 152.3 | 106 | 109.1
17:30 | 174.6 | 120.9 | 123.7 | 146.9 | 107.7 | 120.3 | 156.4 | 108.8 | 113.1
17:45 | 187.4 | 130 | 132.6 | 150 | 110.4 | 123.9 | 161.5 | 113.2 | 118.3
18:00 | 198.1 | 139 | 142.3 | 154 | 114 | 128.2 | 167.3 | 119 | 124.8
18:15 | 205.2 | 146.8 | 152.4 | 158.8 | 118.3 | 133.2 | 173.7 | 126 | 132.4
18:30 | 209.1 | 153.5 | 162.2 | 164 | 123.4 | 138.9 | 180.4 | 133.7 | 140.6
18:45 | 211.1 | 159.7 | 171.2 | 169.2 | 129.2 | 145.1 | 186.7 | 141.5 | 149.1
19:00 | 212.2 | 165.6 | 178.9 | 174 | 135.7 | 151.5 | 192.3 | 149 | 157.3
19:15 | 213.2 | 171.5 | 184.7 | 177.8 | 142.8 | 157.9 | 196.5 | 155.5 | 164.9
19:30 | 213 | 176.4 | 188.2 | 180.5 | 149.8 | 163.8 | 199 | 160.6 | 171.1
19:45 | 210.4 | 179.1 | 188.9 | 181.8 | 155.7 | 168.3 | 199.4 | 163.6 | 175.2
20:00 | 203.9 | 178.1 | 186.4 | 181.4 | 159.8 | 170.6 | 197.3 | 164 | 176.5
20:15 | 192.9 | 172.9 | 180.7 | 179.3 | 161.4 | 170.4 | 192.4 | 161.5 | 174.5
20:30 | 179 | 164.7 | 172.7 | 175.7 | 160.8 | 168.3 | 185.2 | 157.1 | 170.5
20:45 | 164.4 | 155.6 | 163.9 | 171 | 159 | 165.3 | 176.6 | 152.2 | 165.7
21:00 | 151.5 | 147.3 | 155.6 | 165.6 | 156.5 | 162.3 | 167.3 | 148.2 | 161.5
21:15 | 141.9 | 141.4 | 148.9 | 160.1 | 153.9 | 160.1 | 157.9 | 145.9 | 158.9
21:30 | 135.3 | 137.2 | 143.4 | 155.1 | 151.5 | 158.4 | 149.5 | 144.7 | 157.2
21:45 | 131 | 133.7 | 138.4 | 151.1 | 149.3 | 156.8 | 142.9 | 143.6 | 155.4
22:00 | 128.2 | 129.8 | 133.2 | 149 | 147.3 | 154.8 | 139 | 141.5 | 152.3
22:15 | 126.1 | 124.8 | 127.2 | 148.9 | 145.4 | 151.9 | 138.3 | 137.5 | 147.2
22:30 | 124.1 | 118.6 | 120.5 | 149.6 | 143 | 147.9 | 139.2 | 131.8 | 140.3
22:45 | 121.6 | 111.6 | 113.3 | 149.4 | 139.2 | 142.5 | 139.5 | 124.7 | 132.1
23:00 | 118.2 | 104 | 105.7 | 146.5 | 133.2 | 135.7 | 137.3 | 116.5 | 123.2
23:15 | 113.4 | 96.2 | 98 | 139.8 | 124.4 | 127.2 | 131.1 | 107.6 | 114
23:30 | 107.4 | 88.4 | 90.2 | 130.3 | 113.8 | 117.5 | 121.9 | 98.4 | 104.8
23:45 | 100.8 | 80.7 | 82.5 | 119.5 | 102.5 | 107.1 | 111.5 | 89.2 | 95.6
0:00 | 94.1 | 73.2 | 74.9 | 109 | 91.6 | 96.5 | 101.5 | 80.7 | 86.6
Viertelstunden-Leistungswerte für den Jahresverbrauch von 1.000 kWh/a

## Load_profiles_H0_scaled
| W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 0.33131 | 0.40945 | 0.31633 | 0.42022 | 0.46841 | 0.40384 | 0.37529 | 0.43706 | 0.36406
0:30 | 0.31914 | 0.3795 | 0.28451 | 0.39729 | 0.43285 | 0.35985 | 0.35143 | 0.40618 | 0.32569
0:45 | 0.30838 | 0.35096 | 0.2569 | 0.37763 | 0.40197 | 0.32195 | 0.33084 | 0.37997 | 0.292
1:00 | 0.29621 | 0.32335 | 0.2335 | 0.35845 | 0.37389 | 0.292 | 0.31165 | 0.35423 | 0.26486
1:15 | 0.27843 | 0.29668 | 0.21619 | 0.33552 | 0.34675 | 0.27141 | 0.29153 | 0.32803 | 0.24567
1:30 | 0.25737 | 0.27234 | 0.20402 | 0.31165 | 0.32148 | 0.25877 | 0.27141 | 0.30182 | 0.23257
1:45 | 0.23631 | 0.25082 | 0.19607 | 0.28825 | 0.29902 | 0.25082 | 0.25316 | 0.27749 | 0.22415
2:00 | 0.21806 | 0.2335 | 0.19092 | 0.2686 | 0.2803 | 0.2452 | 0.23772 | 0.2569 | 0.21806
2:15 | 0.20543 | 0.22134 | 0.18765 | 0.25503 | 0.26673 | 0.24006 | 0.22649 | 0.24193 | 0.21292
2:30 | 0.19794 | 0.21292 | 0.18531 | 0.24614 | 0.25737 | 0.23538 | 0.219 | 0.23117 | 0.20824
2:45 | 0.19373 | 0.20683 | 0.18437 | 0.24052 | 0.25035 | 0.23023 | 0.21385 | 0.22368 | 0.20496
3:00 | 0.19092 | 0.20262 | 0.18297 | 0.23772 | 0.2452 | 0.22602 | 0.21011 | 0.21806 | 0.20262
3:15 | 0.18858 | 0.19841 | 0.18156 | 0.23538 | 0.24099 | 0.22227 | 0.20777 | 0.21292 | 0.20122
3:30 | 0.18671 | 0.1942 | 0.18063 | 0.23397 | 0.23772 | 0.21947 | 0.20543 | 0.20824 | 0.20122
3:45 | 0.18484 | 0.19045 | 0.17922 | 0.2335 | 0.23491 | 0.21759 | 0.20356 | 0.20496 | 0.20168
4:00 | 0.18297 | 0.18718 | 0.17922 | 0.2335 | 0.2335 | 0.21806 | 0.20262 | 0.20262 | 0.20262
4:15 | 0.18156 | 0.1839 | 0.17969 | 0.23444 | 0.2335 | 0.2204 | 0.20168 | 0.20168 | 0.20309
4:30 | 0.18016 | 0.18156 | 0.18156 | 0.23584 | 0.23397 | 0.22461 | 0.20168 | 0.20168 | 0.20449
4:45 | 0.17922 | 0.18016 | 0.1839 | 0.23725 | 0.23444 | 0.2307 | 0.20168 | 0.20215 | 0.20683
5:00 | 0.17922 | 0.17922 | 0.18718 | 0.23772 | 0.2335 | 0.23772 | 0.20262 | 0.20262 | 0.21011
5:15 | 0.18016 | 0.17922 | 0.19139 | 0.23772 | 0.23163 | 0.24661 | 0.20402 | 0.20262 | 0.21666
5:30 | 0.18297 | 0.17969 | 0.20168 | 0.23818 | 0.22883 | 0.26018 | 0.20683 | 0.20262 | 0.22883
5:45 | 0.18858 | 0.18109 | 0.22321 | 0.24146 | 0.22649 | 0.28311 | 0.21245 | 0.20215 | 0.25129
6:00 | 0.19841 | 0.18297 | 0.26111 | 0.24942 | 0.22602 | 0.31914 | 0.22181 | 0.20262 | 0.28825
6:15 | 0.21338 | 0.18577 | 0.3182 | 0.26299 | 0.22789 | 0.37061 | 0.23631 | 0.20356 | 0.34113
6:30 | 0.2335 | 0.18905 | 0.38746 | 0.28264 | 0.23304 | 0.43051 | 0.2569 | 0.2073 | 0.40384
6:45 | 0.25877 | 0.19326 | 0.45859 | 0.30791 | 0.24286 | 0.48994 | 0.28404 | 0.21526 | 0.46841
7:00 | 0.28825 | 0.19841 | 0.52176 | 0.33879 | 0.2569 | 0.54141 | 0.31914 | 0.22976 | 0.52597
7:15 | 0.32241 | 0.2059 | 0.56902 | 0.37436 | 0.27702 | 0.57791 | 0.36266 | 0.25222 | 0.56996
7:30 | 0.36079 | 0.21806 | 0.60131 | 0.41413 | 0.3037 | 0.60178 | 0.41132 | 0.28264 | 0.60131
7:45 | 0.4029 | 0.23912 | 0.62096 | 0.45578 | 0.33832 | 0.61769 | 0.46139 | 0.32195 | 0.6219
8:00 | 0.44782 | 0.27281 | 0.63079 | 0.49836 | 0.38184 | 0.63079 | 0.51006 | 0.37015 | 0.635
8:15 | 0.49509 | 0.32101 | 0.6336 | 0.54095 | 0.43472 | 0.64483 | 0.55405 | 0.4263 | 0.64202
8:30 | 0.54188 | 0.38044 | 0.63079 | 0.58212 | 0.49415 | 0.6584 | 0.59289 | 0.48807 | 0.64436
8:45 | 0.58446 | 0.44548 | 0.62284 | 0.62143 | 0.55686 | 0.6701 | 0.62611 | 0.55218 | 0.64436
9:00 | 0.61909 | 0.51006 | 0.61161 | 0.6584 | 0.61909 | 0.67759 | 0.65419 | 0.61535 | 0.64249
9:15 | 0.64389 | 0.57043 | 0.59757 | 0.69162 | 0.67759 | 0.67993 | 0.67712 | 0.67478 | 0.64062
9:30 | 0.66027 | 0.62564 | 0.58306 | 0.72064 | 0.73093 | 0.67805 | 0.6963 | 0.72766 | 0.63828
9:45 | 0.67057 | 0.67571 | 0.56855 | 0.74357 | 0.77679 | 0.67291 | 0.71315 | 0.77351 | 0.635
10:00 | 0.67759 | 0.72064 | 0.55686 | 0.75948 | 0.81423 | 0.66589 | 0.72812 | 0.81001 | 0.63079
10:15 | 0.6832 | 0.76088 | 0.5489 | 0.7679 | 0.8423 | 0.65887 | 0.74357 | 0.83669 | 0.62564
10:30 | 0.68882 | 0.79785 | 0.54375 | 0.77071 | 0.86383 | 0.65278 | 0.75807 | 0.85681 | 0.61956
10:45 | 0.69443 | 0.83294 | 0.54141 | 0.77211 | 0.88301 | 0.6481 | 0.77164 | 0.87506 | 0.61488
11:00 | 0.70098 | 0.86851 | 0.54141 | 0.77492 | 0.9036 | 0.6467 | 0.78287 | 0.89565 | 0.61161
11:15 | 0.70894 | 0.90454 | 0.54328 | 0.78194 | 0.92794 | 0.64857 | 0.79176 | 0.92185 | 0.61114
11:30 | 0.7183 | 0.9387 | 0.5475 | 0.7927 | 0.95321 | 0.65559 | 0.79925 | 0.94993 | 0.61535
11:45 | 0.73 | 0.96678 | 0.55545 | 0.80674 | 0.9766 | 0.66729 | 0.80721 | 0.97567 | 0.62518
12:00 | 0.74403 | 0.98549 | 0.56855 | 0.82171 | 0.99298 | 0.68554 | 0.81797 | 0.99298 | 0.64249
12:15 | 0.75994 | 0.99111 | 0.5868 | 0.83762 | 1 | 0.70894 | 0.83154 | 0.99906 | 0.66729
12:30 | 0.77585 | 0.98362 | 0.60646 | 0.85119 | 0.99579 | 0.73327 | 0.84605 | 0.99111 | 0.6935
12:45 | 0.78802 | 0.9635 | 0.62237 | 0.85962 | 0.97801 | 0.75199 | 0.85681 | 0.96865 | 0.71502
13:00 | 0.79457 | 0.93074 | 0.63079 | 0.86055 | 0.94665 | 0.75948 | 0.86055 | 0.93074 | 0.72438
13:15 | 0.7927 | 0.88723 | 0.62798 | 0.85213 | 0.90033 | 0.75105 | 0.85494 | 0.87787 | 0.71689
13:30 | 0.78428 | 0.83622 | 0.61628 | 0.83622 | 0.84651 | 0.73046 | 0.84137 | 0.81703 | 0.69677
13:45 | 0.77117 | 0.78287 | 0.59897 | 0.81469 | 0.79176 | 0.70285 | 0.82265 | 0.75667 | 0.6701
14:00 | 0.75573 | 0.73234 | 0.58025 | 0.79083 | 0.74403 | 0.67384 | 0.80253 | 0.70473 | 0.64249
14:15 | 0.73982 | 0.68788 | 0.56247 | 0.76603 | 0.70847 | 0.64764 | 0.78241 | 0.66823 | 0.61956
14:30 | 0.72485 | 0.64998 | 0.54656 | 0.74357 | 0.6832 | 0.62518 | 0.76322 | 0.64389 | 0.60084
14:45 | 0.71034 | 0.61816 | 0.53205 | 0.72344 | 0.66261 | 0.60552 | 0.74497 | 0.62658 | 0.584
15:00 | 0.69724 | 0.59195 | 0.51802 | 0.70894 | 0.64249 | 0.58821 | 0.72812 | 0.61161 | 0.56855
15:15 | 0.68554 | 0.57089 | 0.50491 | 0.70005 | 0.61956 | 0.57277 | 0.71268 | 0.59476 | 0.55264
15:30 | 0.67571 | 0.55264 | 0.49368 | 0.69537 | 0.59429 | 0.55966 | 0.69958 | 0.57604 | 0.5372
15:45 | 0.66776 | 0.5372 | 0.48432 | 0.69256 | 0.56902 | 0.54937 | 0.68882 | 0.55686 | 0.5227
16:00 | 0.66214 | 0.52176 | 0.47918 | 0.68928 | 0.54516 | 0.54141 | 0.6818 | 0.53767 | 0.51006
16:15 | 0.65934 | 0.50679 | 0.47824 | 0.68414 | 0.52504 | 0.53627 | 0.67852 | 0.51942 | 0.50023
16:30 | 0.66308 | 0.49555 | 0.48292 | 0.67852 | 0.50959 | 0.53439 | 0.68039 | 0.50398 | 0.49462
16:45 | 0.67805 | 0.49228 | 0.49415 | 0.67431 | 0.4993 | 0.53627 | 0.68648 | 0.49415 | 0.49368
17:00 | 0.70894 | 0.50257 | 0.51427 | 0.67384 | 0.49462 | 0.54141 | 0.69724 | 0.49088 | 0.49836
17:15 | 0.7576 | 0.52831 | 0.54282 | 0.67805 | 0.49649 | 0.5503 | 0.71268 | 0.49602 | 0.51053
17:30 | 0.81703 | 0.56575 | 0.57885 | 0.68741 | 0.50398 | 0.56294 | 0.73187 | 0.50912 | 0.52925
17:45 | 0.87693 | 0.60833 | 0.6205 | 0.70192 | 0.51661 | 0.57978 | 0.75573 | 0.52971 | 0.55358
18:00 | 0.927 | 0.65044 | 0.66589 | 0.72064 | 0.53346 | 0.59991 | 0.78287 | 0.55686 | 0.584
18:15 | 0.96022 | 0.68694 | 0.71315 | 0.7431 | 0.55358 | 0.6233 | 0.81282 | 0.58961 | 0.61956
18:30 | 0.97847 | 0.7183 | 0.75901 | 0.76743 | 0.57745 | 0.64998 | 0.84417 | 0.62564 | 0.65793
18:45 | 0.98783 | 0.74731 | 0.80112 | 0.79176 | 0.60459 | 0.67899 | 0.87365 | 0.66214 | 0.69771
19:00 | 0.99298 | 0.77492 | 0.83715 | 0.81423 | 0.635 | 0.70894 | 0.89986 | 0.69724 | 0.73608
19:15 | 0.99766 | 0.80253 | 0.8643 | 0.83201 | 0.66823 | 0.73889 | 0.91951 | 0.72766 | 0.77164
19:30 | 0.99672 | 0.82546 | 0.88067 | 0.84464 | 0.70098 | 0.7665 | 0.93121 | 0.75152 | 0.80066
19:45 | 0.98456 | 0.83809 | 0.88395 | 0.85073 | 0.72859 | 0.78755 | 0.93308 | 0.76556 | 0.81984
20:00 | 0.95414 | 0.83341 | 0.87225 | 0.84885 | 0.74778 | 0.79832 | 0.92326 | 0.76743 | 0.82592
20:15 | 0.90267 | 0.80908 | 0.84558 | 0.83903 | 0.75526 | 0.79738 | 0.90033 | 0.75573 | 0.81657
20:30 | 0.83762 | 0.77071 | 0.80814 | 0.82218 | 0.75246 | 0.78755 | 0.86664 | 0.73514 | 0.79785
20:45 | 0.7693 | 0.72812 | 0.76696 | 0.80019 | 0.74403 | 0.77351 | 0.82639 | 0.71221 | 0.77539
21:00 | 0.70894 | 0.68928 | 0.72812 | 0.77492 | 0.73234 | 0.75948 | 0.78287 | 0.6935 | 0.75573
21:15 | 0.66401 | 0.66168 | 0.69677 | 0.74918 | 0.72017 | 0.74918 | 0.73889 | 0.68273 | 0.74357
21:30 | 0.63313 | 0.64202 | 0.67103 | 0.72578 | 0.70894 | 0.74123 | 0.69958 | 0.67712 | 0.73561
21:45 | 0.61301 | 0.62564 | 0.64764 | 0.70707 | 0.69864 | 0.73374 | 0.66869 | 0.67197 | 0.72719
22:00 | 0.59991 | 0.60739 | 0.6233 | 0.69724 | 0.68928 | 0.72438 | 0.65044 | 0.66214 | 0.71268
22:15 | 0.59008 | 0.584 | 0.59523 | 0.69677 | 0.68039 | 0.71081 | 0.64717 | 0.64343 | 0.68882
22:30 | 0.58072 | 0.55498 | 0.56387 | 0.70005 | 0.66916 | 0.69209 | 0.65138 | 0.61675 | 0.65653
22:45 | 0.56902 | 0.52223 | 0.53018 | 0.69911 | 0.65138 | 0.66682 | 0.65278 | 0.58353 | 0.61816
23:00 | 0.55311 | 0.48666 | 0.49462 | 0.68554 | 0.6233 | 0.635 | 0.64249 | 0.54516 | 0.57651
23:15 | 0.53065 | 0.45016 | 0.45859 | 0.65419 | 0.58212 | 0.59523 | 0.61348 | 0.50351 | 0.53346
23:30 | 0.50257 | 0.41366 | 0.42209 | 0.60973 | 0.53252 | 0.54984 | 0.57043 | 0.46046 | 0.49041
23:45 | 0.47169 | 0.37763 | 0.38606 | 0.5592 | 0.47964 | 0.50117 | 0.52176 | 0.41741 | 0.44736
0:00 | 0.44034 | 0.34254 | 0.35049 | 0.51006 | 0.42864 | 0.45157 | 0.47496 | 0.37763 | 0.40524

## Load_profiles_G0
G0 | Winter |  |  | Sommer |  |  | Übergangszeit
[W] | Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag | Samstag | Sonntag | Werktag
0:15 | 70 | 63.2 | 65.5 | 74.6 | 68.8 | 71.5 | 75.8 | 68.3 | 73
0:30 | 73 | 61 | 62.6 | 76.2 | 67.4 | 69 | 76.7 | 66.5 | 70.1
0:45 | 75.9 | 58.9 | 59.6 | 77.7 | 65.7 | 66.3 | 77.7 | 64.6 | 67.1
1:00 | 77.6 | 57 | 57 | 78.5 | 63.5 | 63.5 | 78.5 | 62.6 | 64.5
1:15 | 77.1 | 55.3 | 54.8 | 77.9 | 60.9 | 60.9 | 78.5 | 60.3 | 62.3
1:30 | 75 | 53.7 | 53.1 | 76.3 | 58 | 58.6 | 77.8 | 57.9 | 60.6
1:45 | 72.1 | 52.1 | 51.7 | 74.1 | 55.4 | 56.6 | 76.6 | 55.5 | 59.2
2:00 | 69.1 | 50.5 | 50.5 | 71.9 | 53.3 | 55.1 | 74.7 | 53.3 | 57.9
2:15 | 66.8 | 48.7 | 49.4 | 70.2 | 52 | 54.2 | 72.6 | 51.2 | 56.7
2:30 | 65.1 | 46.9 | 48.5 | 68.9 | 51.4 | 53.7 | 70.4 | 49.5 | 55.6
2:45 | 64.1 | 45.2 | 47.9 | 67.9 | 51 | 53.4 | 68.5 | 48 | 54.7
3:00 | 63.5 | 43.9 | 47.7 | 67.3 | 50.5 | 53.3 | 67.3 | 46.7 | 54.2
3:15 | 63.4 | 43 | 47.9 | 66.9 | 49.6 | 53.1 | 67 | 45.7 | 54.1
3:30 | 63.6 | 42.5 | 48.7 | 66.7 | 48.5 | 53.2 | 67.5 | 44.9 | 54.6
3:45 | 64 | 42.2 | 50.2 | 66.8 | 47.5 | 54.1 | 68.3 | 44.3 | 55.8
4:00 | 64.5 | 42 | 52.3 | 67.3 | 46.7 | 56.1 | 69.1 | 43.9 | 57.9
4:15 | 65 | 41.9 | 55.1 | 68 | 46.4 | 59.4 | 69.7 | 43.6 | 60.9
4:30 | 65.6 | 41.8 | 58.2 | 69 | 46.5 | 63.3 | 70.1 | 43.5 | 64.4
4:45 | 66.3 | 41.8 | 61.2 | 70 | 46.6 | 67.2 | 70.5 | 43.6 | 68
5:00 | 67.3 | 42 | 63.5 | 71 | 46.7 | 70.1 | 71 | 43.9 | 71
5:15 | 68.5 | 42.6 | 65 | 71.8 | 46.6 | 71.4 | 71.8 | 44.5 | 73.2
5:30 | 69.9 | 43.4 | 66 | 72.4 | 46.3 | 71.6 | 72.5 | 45.1 | 74.7
5:45 | 71.4 | 44.4 | 67.1 | 72.8 | 46 | 71.2 | 73 | 45.6 | 75.7
6:00 | 72.9 | 45.8 | 69.1 | 72.9 | 45.8 | 71 | 72.9 | 45.8 | 76.6
6:15 | 74.4 | 47.4 | 72.5 | 73 | 45.9 | 71.5 | 72.2 | 45.6 | 77.7
6:30 | 76.8 | 49 | 77.1 | 73.9 | 46.3 | 73.1 | 72.2 | 45.3 | 79.3
6:45 | 81 | 50.4 | 82.9 | 77 | 47.2 | 75.9 | 74.4 | 45.2 | 81.9
7:00 | 87.8 | 51.4 | 89.7 | 83.2 | 48.6 | 80.4 | 80.4 | 45.8 | 86
7:15 | 98 | 51.8 | 97.6 | 93.3 | 50.5 | 86.6 | 91 | 47.2 | 91.9
7:30 | 110.7 | 51.7 | 107.3 | 106.2 | 52.6 | 95.1 | 105.2 | 49.1 | 100.4
7:45 | 124.8 | 51.2 | 119.9 | 120.5 | 54.3 | 106.3 | 121.2 | 51 | 111.9
8:00 | 139.2 | 50.5 | 136.4 | 134.5 | 55.1 | 120.5 | 137.4 | 52.3 | 127.1
8:15 | 153 | 49.6 | 157.1 | 147.2 | 54.8 | 137.8 | 152.1 | 52.8 | 145.9
8:30 | 165.4 | 49 | 179.5 | 157.8 | 53.9 | 156.3 | 164.9 | 52.9 | 166.2
8:45 | 175.9 | 48.8 | 200.5 | 166.2 | 53.2 | 173.4 | 175.1 | 53.1 | 185.2
9:00 | 184.1 | 49.5 | 216.8 | 171.9 | 53.3 | 186.9 | 182.2 | 54.2 | 200
9:15 | 189.5 | 51.3 | 226.2 | 175 | 54.7 | 195 | 186.1 | 56.4 | 208.5
9:30 | 192.8 | 53.8 | 230 | 176.1 | 57.2 | 198.7 | 187.5 | 59.5 | 212.1
9:45 | 195.1 | 56.8 | 230.4 | 176.3 | 60 | 199.8 | 187.7 | 62.7 | 212.6
10:00 | 197.1 | 59.8 | 229.9 | 176.6 | 62.6 | 200 | 187.8 | 65.4 | 212.1
10:15 | 199.8 | 62.6 | 230 | 177.7 | 64.5 | 200.6 | 188.7 | 67.2 | 212.2
10:30 | 202.7 | 65.1 | 231.2 | 179.4 | 65.9 | 201.9 | 190.1 | 68.5 | 213.1
10:45 | 205.4 | 67.2 | 233 | 181.3 | 67 | 203.6 | 191.9 | 69.6 | 214.6
11:00 | 207.4 | 69.1 | 235.5 | 183.1 | 68.2 | 205.6 | 193.4 | 71 | 216.8
11:15 | 208.4 | 70.8 | 238.1 | 184.4 | 69.7 | 207.6 | 194.5 | 73.1 | 219.2
11:30 | 208.3 | 72.2 | 240 | 185.2 | 71.4 | 209.1 | 195.1 | 75.6 | 221.2
11:45 | 207.4 | 73.5 | 240.4 | 185.3 | 73.2 | 209.6 | 195.3 | 78.2 | 222
12:00 | 205.6 | 74.7 | 238.3 | 185 | 74.7 | 208.4 | 195.3 | 80.4 | 220.5
12:15 | 203 | 76 | 233 | 184.1 | 76 | 205.1 | 194.9 | 81.9 | 216.3
12:30 | 199.7 | 77.3 | 225.1 | 182.4 | 77 | 200 | 193.9 | 82.8 | 209.8
12:45 | 195.6 | 78.4 | 215.7 | 179.7 | 77.8 | 193.8 | 191.7 | 83.2 | 201.9
13:00 | 190.6 | 79.4 | 205.6 | 175.7 | 78.5 | 186.9 | 187.8 | 83.2 | 193.4
13:15 | 184.6 | 80.1 | 195.7 | 170.1 | 79.1 | 179.9 | 181.9 | 82.8 | 185
13:30 | 177.5 | 80.5 | 186.7 | 163.1 | 79.5 | 173.4 | 174.1 | 82.1 | 177.4
13:45 | 168.9 | 80.3 | 179.2 | 154.6 | 79.3 | 168.1 | 164.8 | 80.9 | 170.9
14:00 | 158.8 | 79.4 | 173.8 | 144.8 | 78.5 | 164.4 | 154.2 | 79.4 | 166.3
14:15 | 147.2 | 77.8 | 171 | 133.9 | 76.8 | 163 | 142.6 | 77.5 | 163.9
14:30 | 134.8 | 75.7 | 170.7 | 122.7 | 74.4 | 163.5 | 130.9 | 75.3 | 163.6
14:45 | 122.7 | 73.4 | 172.7 | 112 | 71.8 | 165.4 | 119.8 | 73.1 | 165.1
15:00 | 112.1 | 71 | 176.6 | 102.8 | 69.1 | 168.2 | 110.3 | 71 | 168.2
15:15 | 103.8 | 68.9 | 182.1 | 95.7 | 66.8 | 171.5 | 102.7 | 69.2 | 172.5
15:30 | 97.4 | 67 | 188.2 | 90.4 | 64.8 | 174.6 | 96.9 | 67.6 | 177.3
15:45 | 92.6 | 65.2 | 193.9 | 86.4 | 63.1 | 177.2 | 92.1 | 66.1 | 181.4
16:00 | 88.8 | 63.5 | 198.1 | 83.2 | 61.7 | 178.5 | 87.8 | 64.5 | 184.1
16:15 | 85.6 | 62 | 200.1 | 80.3 | 60.4 | 178.2 | 83.6 | 62.8 | 184.5
16:30 | 83.3 | 61.2 | 200.7 | 77.8 | 59.7 | 176.8 | 79.7 | 61.5 | 183.6
16:45 | 82.4 | 61.8 | 200.9 | 75.9 | 59.7 | 175.1 | 76.9 | 61.2 | 182.1
17:00 | 83.2 | 64.5 | 201.8 | 74.7 | 60.7 | 173.8 | 75.7 | 62.6 | 181.3
17:15 | 85.8 | 69.5 | 204 | 74.4 | 63 | 173.2 | 76.5 | 65.9 | 181.5
17:30 | 89.5 | 76 | 205.8 | 74.8 | 66 | 172.4 | 78.6 | 70.4 | 181.7 | 240.4
17:45 | 93.4 | 82.6 | 205.5 | 75.6 | 69.2 | 170.2 | 81.1 | 75 | 180
18:00 | 96.2 | 87.8 | 200.9 | 76.6 | 71.9 | 165.4 | 83.2 | 78.5 | 174.7
18:15 | 97.4 | 90.8 | 190.7 | 77.6 | 73.9 | 157.1 | 84.1 | 80.1 | 164.8
18:30 | 97.4 | 92.1 | 176.6 | 78.5 | 75.1 | 146.1 | 84.3 | 80.4 | 151.5
18:45 | 96.8 | 92.3 | 160.5 | 79.1 | 76 | 133.8 | 84.1 | 80.2 | 137
19:00 | 96.2 | 92.5 | 144.8 | 79.4 | 76.6 | 121.5 | 84.1 | 80.4 | 123.3
19:15 | 96.3 | 93.1 | 131.3 | 79.4 | 77.3 | 110.1 | 84.7 | 81.4 | 112.1
19:30 | 96.8 | 94 | 120.1 | 79.4 | 78.2 | 100.5 | 85.8 | 83.1 | 103.4
19:45 | 97.2 | 94.6 | 111.3 | 79.6 | 79.2 | 93.2 | 87.3 | 85.1 | 97.3
20:00 | 97.2 | 94.4 | 104.6 | 80.4 | 80.4 | 88.8 | 88.8 | 86.9 | 93.4
20:15 | 96.3 | 93 | 100 | 81.9 | 81.6 | 87.4 | 90.1 | 88.1 | 91.6
20:30 | 94.8 | 90.8 | 96.7 | 83.9 | 82.9 | 88.1 | 91.2 | 88.7 | 91.1
20:45 | 92.8 | 88 | 94.1 | 85.7 | 83.8 | 89.6 | 91.7 | 88.6 | 91.1
21:00 | 90.6 | 85 | 91.6 | 86.9 | 84.1 | 90.6 | 91.6 | 87.8 | 90.6
21:15 | 88.5 | 82.1 | 88.5 | 87 | 83.7 | 90.2 | 90.6 | 86.4 | 89.2
21:30 | 86.4 | 79.4 | 85.2 | 86.3 | 82.7 | 88.5 | 89 | 84.4 | 87.2
21:45 | 84.3 | 76.9 | 82.1 | 84.9 | 81.2 | 86.3 | 87.1 | 82 | 85
22:00 | 82.2 | 74.7 | 79.4 | 83.2 | 79.4 | 84.1 | 85 | 79.4 | 83.2
22:15 | 80.1 | 72.8 | 77.6 | 81.3 | 77.5 | 82.4 | 83.1 | 76.7 | 82.1
22:30 | 78 | 71.1 | 76.4 | 79.3 | 75.5 | 81.2 | 81.2 | 74.1 | 81.7
22:45 | 75.9 | 69.3 | 75.6 | 77.4 | 73.3 | 80.3 | 79.4 | 71.5 | 81.6
23:00 | 73.8 | 67.3 | 74.7 | 75.7 | 71 | 79.4 | 77.6 | 69.1 | 81.3
23:15 | 71.7 | 65 | 73.7 | 74.1 | 68.6 | 78.4 | 75.7 | 67 | 80.6
23:30 | 69.7 | 62.6 | 72.3 | 72.7 | 66.4 | 77.2 | 73.8 | 65.3 | 79.5
23:45 | 67.6 | 60.4 | 70.5 | 71.3 | 64.6 | 75.7 | 71.9 | 64.1 | 77.9
0:00 | 65.4 | 58.9 | 68.2 | 70.1 | 63.5 | 73.8 | 70.1 | 63.5 | 75.7
Viertelstunden-Leistungswerte für den Jahresverbrauch von 1.000 kWh/a

## Load_profiles_G0_scaled
| W_Samstag | W_Sonntag | W_Werktag | S_Samstag | S_Sonntag | S_Werktag | U_Samstag | U_Sonntag | U_Werktag
0:15 | 0.29118 | 0.2629 | 0.27246 | 0.31032 | 0.28619 | 0.29742 | 0.31531 | 0.28411 | 0.30366
0:30 | 0.30366 | 0.25374 | 0.2604 | 0.31697 | 0.28037 | 0.28702 | 0.31905 | 0.27662 | 0.2916
0:45 | 0.31572 | 0.24501 | 0.24792 | 0.32321 | 0.27329 | 0.27579 | 0.32321 | 0.26872 | 0.27912
1:00 | 0.3228 | 0.2371 | 0.2371 | 0.32654 | 0.26414 | 0.26414 | 0.32654 | 0.2604 | 0.2683
1:15 | 0.32072 | 0.23003 | 0.22795 | 0.32404 | 0.25333 | 0.25333 | 0.32654 | 0.25083 | 0.25915
1:30 | 0.31198 | 0.22338 | 0.22088 | 0.31739 | 0.24126 | 0.24376 | 0.32363 | 0.24085 | 0.25208
1:45 | 0.29992 | 0.21672 | 0.21506 | 0.30824 | 0.23045 | 0.23544 | 0.31864 | 0.23087 | 0.24626
2:00 | 0.28744 | 0.21007 | 0.21007 | 0.29908 | 0.22171 | 0.2292 | 0.31073 | 0.22171 | 0.24085
2:15 | 0.27787 | 0.20258 | 0.20549 | 0.29201 | 0.21631 | 0.22546 | 0.302 | 0.21298 | 0.23586
2:30 | 0.2708 | 0.19509 | 0.20175 | 0.28661 | 0.21381 | 0.22338 | 0.29285 | 0.20591 | 0.23128
2:45 | 0.26664 | 0.18802 | 0.19925 | 0.28245 | 0.21215 | 0.22213 | 0.28494 | 0.19967 | 0.22754
3:00 | 0.26414 | 0.18261 | 0.19842 | 0.27995 | 0.21007 | 0.22171 | 0.27995 | 0.19426 | 0.22546
3:15 | 0.26373 | 0.17887 | 0.19925 | 0.27829 | 0.20632 | 0.22088 | 0.2787 | 0.1901 | 0.22504
3:30 | 0.26456 | 0.17679 | 0.20258 | 0.27745 | 0.20175 | 0.2213 | 0.28078 | 0.18677 | 0.22712
3:45 | 0.26622 | 0.17554 | 0.20882 | 0.27787 | 0.19759 | 0.22504 | 0.28411 | 0.18428 | 0.23211
4:00 | 0.2683 | 0.17471 | 0.21755 | 0.27995 | 0.19426 | 0.23336 | 0.28744 | 0.18261 | 0.24085
4:15 | 0.27038 | 0.17429 | 0.2292 | 0.28286 | 0.19301 | 0.24709 | 0.28993 | 0.18136 | 0.25333
4:30 | 0.27288 | 0.17388 | 0.2421 | 0.28702 | 0.19343 | 0.26331 | 0.2916 | 0.18095 | 0.26789
4:45 | 0.27579 | 0.17388 | 0.25458 | 0.29118 | 0.19384 | 0.27953 | 0.29326 | 0.18136 | 0.28286
5:00 | 0.27995 | 0.17471 | 0.26414 | 0.29534 | 0.19426 | 0.2916 | 0.29534 | 0.18261 | 0.29534
5:15 | 0.28494 | 0.1772 | 0.27038 | 0.29867 | 0.19384 | 0.297 | 0.29867 | 0.18511 | 0.30449
5:30 | 0.29077 | 0.18053 | 0.27454 | 0.30116 | 0.1926 | 0.29784 | 0.30158 | 0.1876 | 0.31073
5:45 | 0.297 | 0.18469 | 0.27912 | 0.30283 | 0.19135 | 0.29617 | 0.30366 | 0.18968 | 0.31489
6:00 | 0.30324 | 0.19052 | 0.28744 | 0.30324 | 0.19052 | 0.29534 | 0.30324 | 0.19052 | 0.31864
6:15 | 0.30948 | 0.19717 | 0.30158 | 0.30366 | 0.19093 | 0.29742 | 0.30033 | 0.18968 | 0.32321
6:30 | 0.31947 | 0.20383 | 0.32072 | 0.3074 | 0.1926 | 0.30408 | 0.30033 | 0.18844 | 0.32987
6:45 | 0.33694 | 0.20965 | 0.34484 | 0.3203 | 0.19634 | 0.31572 | 0.30948 | 0.18802 | 0.34068
7:00 | 0.36522 | 0.21381 | 0.37313 | 0.34609 | 0.20216 | 0.33444 | 0.33444 | 0.19052 | 0.35774
7:15 | 0.40765 | 0.21547 | 0.40599 | 0.3881 | 0.21007 | 0.36023 | 0.37854 | 0.19634 | 0.38228
7:30 | 0.46048 | 0.21506 | 0.44634 | 0.44176 | 0.2188 | 0.39559 | 0.4376 | 0.20424 | 0.41764
7:45 | 0.51913 | 0.21298 | 0.49875 | 0.50125 | 0.22587 | 0.44218 | 0.50416 | 0.21215 | 0.46547
8:00 | 0.57903 | 0.21007 | 0.56739 | 0.55948 | 0.2292 | 0.50125 | 0.57155 | 0.21755 | 0.5287
8:15 | 0.63644 | 0.20632 | 0.65349 | 0.61231 | 0.22795 | 0.57321 | 0.6327 | 0.21963 | 0.60691
8:30 | 0.68802 | 0.20383 | 0.74667 | 0.65641 | 0.22421 | 0.65017 | 0.68594 | 0.22005 | 0.69135
8:45 | 0.7317 | 0.203 | 0.83403 | 0.69135 | 0.2213 | 0.7213 | 0.72837 | 0.22088 | 0.77038
9:00 | 0.76581 | 0.20591 | 0.90183 | 0.71506 | 0.22171 | 0.77745 | 0.7579 | 0.22546 | 0.83195
9:15 | 0.78827 | 0.21339 | 0.94093 | 0.72795 | 0.22754 | 0.81115 | 0.77413 | 0.23461 | 0.8673
9:30 | 0.802 | 0.22379 | 0.95674 | 0.73253 | 0.23794 | 0.82654 | 0.77995 | 0.2475 | 0.88228
9:45 | 0.81156 | 0.23627 | 0.9584 | 0.73336 | 0.24958 | 0.83111 | 0.78078 | 0.26082 | 0.88436
10:00 | 0.81988 | 0.24875 | 0.95632 | 0.73461 | 0.2604 | 0.83195 | 0.7812 | 0.27205 | 0.88228
10:15 | 0.83111 | 0.2604 | 0.95674 | 0.73918 | 0.2683 | 0.83444 | 0.78494 | 0.27953 | 0.8827
10:30 | 0.84318 | 0.2708 | 0.96173 | 0.74626 | 0.27413 | 0.83985 | 0.79077 | 0.28494 | 0.88644
10:45 | 0.85441 | 0.27953 | 0.96922 | 0.75416 | 0.2787 | 0.84692 | 0.79825 | 0.28952 | 0.89268
11:00 | 0.86273 | 0.28744 | 0.97962 | 0.76165 | 0.28369 | 0.85524 | 0.80449 | 0.29534 | 0.90183
11:15 | 0.86689 | 0.29451 | 0.99043 | 0.76705 | 0.28993 | 0.86356 | 0.80907 | 0.30408 | 0.91181
11:30 | 0.86647 | 0.30033 | 0.99834 | 0.77038 | 0.297 | 0.8698 | 0.81156 | 0.31448 | 0.92013
11:45 | 0.86273 | 0.30574 | 1 | 0.7708 | 0.30449 | 0.87188 | 0.8124 | 0.32529 | 0.92346
12:00 | 0.85524 | 0.31073 | 0.99126 | 0.76955 | 0.31073 | 0.86689 | 0.8124 | 0.33444 | 0.91722
12:15 | 0.84443 | 0.31614 | 0.96922 | 0.76581 | 0.31614 | 0.85316 | 0.81073 | 0.34068 | 0.89975
12:30 | 0.8307 | 0.32155 | 0.93636 | 0.75874 | 0.3203 | 0.83195 | 0.80657 | 0.34443 | 0.87271
12:45 | 0.81364 | 0.32612 | 0.89725 | 0.7475 | 0.32363 | 0.80616 | 0.79742 | 0.34609 | 0.83985
13:00 | 0.79285 | 0.33028 | 0.85524 | 0.73087 | 0.32654 | 0.77745 | 0.7812 | 0.34609 | 0.80449
13:15 | 0.76789 | 0.33319 | 0.81406 | 0.70757 | 0.32903 | 0.74834 | 0.75666 | 0.34443 | 0.76955
13:30 | 0.73835 | 0.33486 | 0.77662 | 0.67845 | 0.3307 | 0.7213 | 0.72421 | 0.34151 | 0.73794
13:45 | 0.70258 | 0.33403 | 0.74542 | 0.64309 | 0.32987 | 0.69925 | 0.68552 | 0.33652 | 0.7109
14:00 | 0.66057 | 0.33028 | 0.72296 | 0.60233 | 0.32654 | 0.68386 | 0.64143 | 0.33028 | 0.69176
14:15 | 0.61231 | 0.32363 | 0.71131 | 0.55699 | 0.31947 | 0.67804 | 0.59318 | 0.32238 | 0.68178
14:30 | 0.56073 | 0.31489 | 0.71007 | 0.5104 | 0.30948 | 0.68012 | 0.54451 | 0.31323 | 0.68053
14:45 | 0.5104 | 0.30532 | 0.71839 | 0.46589 | 0.29867 | 0.68802 | 0.49834 | 0.30408 | 0.68677
15:00 | 0.46631 | 0.29534 | 0.73461 | 0.42762 | 0.28744 | 0.69967 | 0.45882 | 0.29534 | 0.69967
15:15 | 0.43178 | 0.28661 | 0.75749 | 0.39809 | 0.27787 | 0.71339 | 0.4272 | 0.28785 | 0.71755
15:30 | 0.40516 | 0.2787 | 0.78286 | 0.37604 | 0.26955 | 0.72629 | 0.40308 | 0.2812 | 0.73752
15:45 | 0.38519 | 0.27121 | 0.80657 | 0.3594 | 0.26248 | 0.7371 | 0.38311 | 0.27496 | 0.75458
16:00 | 0.36938 | 0.26414 | 0.82404 | 0.34609 | 0.25666 | 0.74251 | 0.36522 | 0.2683 | 0.76581
16:15 | 0.35607 | 0.2579 | 0.83236 | 0.33403 | 0.25125 | 0.74126 | 0.34775 | 0.26123 | 0.76747
16:30 | 0.34651 | 0.25458 | 0.83486 | 0.32363 | 0.24834 | 0.73544 | 0.33153 | 0.25582 | 0.76373
16:45 | 0.34276 | 0.25707 | 0.83569 | 0.31572 | 0.24834 | 0.72837 | 0.31988 | 0.25458 | 0.75749
17:00 | 0.34609 | 0.2683 | 0.83943 | 0.31073 | 0.2525 | 0.72296 | 0.31489 | 0.2604 | 0.75416
17:15 | 0.35691 | 0.2891 | 0.84859 | 0.30948 | 0.26206 | 0.72047 | 0.31822 | 0.27413 | 0.75499
17:30 | 0.3723 | 0.31614 | 0.85607 | 0.31115 | 0.27454 | 0.71714 | 0.32696 | 0.29285 | 0.75582
17:45 | 0.38852 | 0.34359 | 0.85483 | 0.31448 | 0.28785 | 0.70799 | 0.33735 | 0.31198 | 0.74875
18:00 | 0.40017 | 0.36522 | 0.83569 | 0.31864 | 0.29908 | 0.68802 | 0.34609 | 0.32654 | 0.72671
18:15 | 0.40516 | 0.3777 | 0.79326 | 0.3228 | 0.3074 | 0.65349 | 0.34983 | 0.33319 | 0.68552
18:30 | 0.40516 | 0.38311 | 0.73461 | 0.32654 | 0.3124 | 0.60774 | 0.35067 | 0.33444 | 0.6302
18:45 | 0.40266 | 0.38394 | 0.66764 | 0.32903 | 0.31614 | 0.55657 | 0.34983 | 0.33361 | 0.56988
19:00 | 0.40017 | 0.38478 | 0.60233 | 0.33028 | 0.31864 | 0.50541 | 0.34983 | 0.33444 | 0.5129
19:15 | 0.40058 | 0.38727 | 0.54617 | 0.33028 | 0.32155 | 0.45799 | 0.35233 | 0.3386 | 0.46631
19:30 | 0.40266 | 0.39101 | 0.49958 | 0.33028 | 0.32529 | 0.41805 | 0.35691 | 0.34567 | 0.43012
19:45 | 0.40433 | 0.39351 | 0.46298 | 0.33111 | 0.32945 | 0.38769 | 0.36314 | 0.35399 | 0.40474
20:00 | 0.40433 | 0.39268 | 0.43511 | 0.33444 | 0.33444 | 0.36938 | 0.36938 | 0.36148 | 0.38852
20:15 | 0.40058 | 0.38686 | 0.41597 | 0.34068 | 0.33943 | 0.36356 | 0.37479 | 0.36647 | 0.38103
20:30 | 0.39434 | 0.3777 | 0.40225 | 0.349 | 0.34484 | 0.36647 | 0.37937 | 0.36897 | 0.37895
20:45 | 0.38602 | 0.36606 | 0.39143 | 0.35649 | 0.34859 | 0.37271 | 0.38145 | 0.36855 | 0.37895
21:00 | 0.37687 | 0.35358 | 0.38103 | 0.36148 | 0.34983 | 0.37687 | 0.38103 | 0.36522 | 0.37687
21:15 | 0.36814 | 0.34151 | 0.36814 | 0.3619 | 0.34817 | 0.37521 | 0.37687 | 0.3594 | 0.37105
21:30 | 0.3594 | 0.33028 | 0.35441 | 0.35899 | 0.34401 | 0.36814 | 0.37022 | 0.35108 | 0.36273
21:45 | 0.35067 | 0.31988 | 0.34151 | 0.35316 | 0.33777 | 0.35899 | 0.36231 | 0.3411 | 0.35358
22:00 | 0.34193 | 0.31073 | 0.33028 | 0.34609 | 0.33028 | 0.34983 | 0.35358 | 0.33028 | 0.34609
22:15 | 0.33319 | 0.30283 | 0.3228 | 0.33819 | 0.32238 | 0.34276 | 0.34567 | 0.31905 | 0.34151
22:30 | 0.32446 | 0.29576 | 0.3178 | 0.32987 | 0.31406 | 0.33777 | 0.33777 | 0.30824 | 0.33985
22:45 | 0.31572 | 0.28827 | 0.31448 | 0.32196 | 0.30491 | 0.33403 | 0.33028 | 0.29742 | 0.33943
23:00 | 0.30699 | 0.27995 | 0.31073 | 0.31489 | 0.29534 | 0.33028 | 0.3228 | 0.28744 | 0.33819
23:15 | 0.29825 | 0.27038 | 0.30657 | 0.30824 | 0.28536 | 0.32612 | 0.31489 | 0.2787 | 0.33527
23:30 | 0.28993 | 0.2604 | 0.30075 | 0.30241 | 0.27621 | 0.32113 | 0.30699 | 0.27163 | 0.3307
23:45 | 0.2812 | 0.25125 | 0.29326 | 0.29659 | 0.26872 | 0.31489 | 0.29908 | 0.26664 | 0.32404
0:00 | 0.27205 | 0.24501 | 0.28369 | 0.2916 | 0.26414 | 0.30699 | 0.2916 | 0.26414 | 0.31489

## MV_DER
| bus | p_mw | q_mvar | sn_mva | name | type
0 | 1 | 10 | 0 | 10 | PV 1 | PV
1 | 1 | 12 | 0 | 12 | WKA 1 | WP
2 | 3 | 0.15 | 0 | 0.15 | PV 3 | PV
3 | 4 | 0.3 | 0 | 0.3 | PV 4 | PV
4 | 8 | 0.15 | 0 | 0.15 | PV 8 | PV
5 | 9 | 0.45 | 0 | 0.45 | PV 9 | PV
6 | 11 | 0.3 | 0 | 0.3 | PV 11 | PV
7 | 7 | 3 | 0 | 3 | WKA 7 | WP
8 | 12 | 15 | 0 | 15 | PV 12 | PV
9 | 12 | 12 | 0 | 12 | WKA 12 | WP

## LV_DER
| bus | p_mw | q_mvar | sn_mva | name | type
0 | 2 | 0.1 | 0 | 0.1 | PV R1 | PV
1 | 12 | 0.03 | 0 | 0.03 | PV R11 | PV
2 | 16 | 0.03 | 0 | 0.03 | PV R15 | PV
3 | 17 | 0.03 | 0 | 0.03 | PV R16 | PV
4 | 18 | 0.05 | 0 | 0.05 | PV R17 | PV
5 | 19 | 0.05 | 0 | 0.05 | PV R18 | PV